[image: image1.png]I you're
you need to
be on




   Essential Knowledge


Energy Saving Tips

Top Tips

BOMA International - the Building Owners and Managers Association – has compiled a list of the ten best no or low-cost strategies to reduce energy consumption in commercial buildings. 

BOMA says putting these into practice could cut consumption by as much as 30%.

The recommended actions are: 

· Check that equipment is functioning as designed
Double-check energy management systems to make sure that operations are optimised. 

· Consider your cleaning options 
These include team cleaning where staff work floor by floor and the lighting is turned on/off as they progress; and daytime cleaning, which may not require the lights to be on at all. Coordination of cleaners with security walk-throughs is also more efficient and can be used as an opportunity to turn off equipment that was inadvertently left on by occupants. Install motion sensors to turn lights on when cleaning staff are present - and off when they are not. 

· Encourage occupants to turn off equipment 
During 'closed' hours, power down everything such as copiers, kitchen equipment and task lights. Use cleaning/security personnel to turn off items such as coffee pots, kitchen equipment and office lights.

· Use high efficiency LED exit signs 
LED exit signs operate 24/7 and have lower maintenance costs due to their extended life.

· Institute an energy awareness programme 
Tell everyone about your commitment to energy savings. Keep occupants informed about energy savings goals and how they can both help and benefit. 

· Install computer power management software 
Billions are wasted on electricity for computer monitors that are left on when they shouldn’t be. Power management software can help put a stop to that. 

· Change incandescent lamps to more efficient alternatives 
New light sources use less energy, have a longer life and produce less heat. Check the lighting in toilets, cupboards, server rooms and common areas. 

· Harvest daylight 
Maximise the benefit by locating workstations that require high illumination adjacent to windows. 

· Evaluate after-hours usage 
Talk to the occupants to learn if they are actually using their space outside normal operating hours. Adjust building operating hours to reflect actual occupant use.

· Adjust ventilation 
Reduce exhaust and outdoor air ventilation rates within required limits. Take a look at the fans and adjust ventilation in unoccupied and low density areas to reduce the ventilation to a practical, yet comfortable level.

Source: BOMA  

http://www.boma.org
http://www.i-FM.net/essential-knowledge

[image: image1.png]